China Medical University Checklist for Regular Inspection of Drying Equipment

Department： Laboratory： Inspection date： Year Month Day
Item	Check item	Inspection method	Test result	Improvement measures to be taken based on inspection results	Remark
1	Any damage, deformation, or corrosion on the inside, outside, and external cabinets?
2	Any abnormalities in the component releasing gas, vapor, or dusts generated during drying in the hazardous material drying equipment.
3	Any abnormalities in the ventilation component of the combustion chamber or ignition point of the drying equipment that uses liquid fuel or flammable liquid as a heating source.
4	Any abnormalities in openings such as peepholes, access holes, and exhaust vents.
5	Any abnormalities in the internal temperature measurement and adjustment devices.
6	Any abnormalities in electrical machinery, appliances, or wiring inside the drying equipment.
7
8
9
10
Precautions	1. This checklist id developed in accordance with Article 27 of the "Occupational Safety and Health Management Regulations." / 2. The periodic inspection should be conducted once a year and the record kept on file for 3 years for future inspection.

Inspector：	Laboratory teacher： Chair：