China Medical University Checklist for Regular Inspection of Sterilization Pot (including Autoclave)
 Department： Laboratory： Inspection Date： Year Month Day
Item	Check item	Inspection method	Test result	Improvement measures to be taken based on inspection results	Remark
1	Any damage of the main body.
2	Any abnormalities of the cover screw.
3	Any abnormalities of pipes and valves.
4	Other items essential to maintaining performance.
5
6
7
8
9
10
Precautions	1. This form is developed in accordance with Article 36 of the "Occupational Safety and Health Management Measures." / 2. This inspection should be conducted once a year and the record kept on file for 3 years for future inspection.

Inspector：	Laboratory teacher ： Chair：