China Medical University Checklist for High-Pressure Gas Vessels or Steel Cylinders and for Pipeline Operations

Department：	Laboratory：	Year of Inspection：______________

Type：□ Containers □ Steel cylinder	Name of Gas：______________

Check item/Date (Month and Day)
1. Fixtures provide stable fixation.
2. The contents of the contained are clearly labeled.
3. The stopper and pressure regulator are undamaged.
4. The high-pressure hose and transport pipeline are undamaged.
5. Spare gas and empty cylinders are equipped with caps/head covers and labeled with tags indicating “full” or “empty.”
6. No flammable materials, sources of fire, or sources of high temperature near the storage area.
7. The transport pipelines are clearly labeled with the contents of the gas.
Inspector's signature.
Measures for improvement in case of abnormalities.

Notes: 1. The periodic inspection is required in accordance with Article 65 of the "Occupational Safety and Health Management Regulations."
        2. The inspection should be conducted once before each operation; once being completed the checklist should be submitted to the laboratory's responsible teacher and the Department’s Chair for approving signature. The approved checklist should be kept in the laboratory for three years for future inspection.
        3. Inspection results: check "" to indicate yes or normal and "" to show no or abnormal. If there are any abnormal conditions, please indicate the proposed improvements.

        Laboratory teacher ：	Chair ：